MEASURAND &

MEASUREMENT

MODEL

REFLECTION

WORKBOOK

NPL Uncertainty training course

# Measurand & Measurement Model Reflection Workbook

This workbook guides you through a structured reflection on your own measurement problem, following the same steps used in the NPL e-learning course. You may complete it as a thought exercise, annotate it digitally, or print and write directly into the boxes provided.

## How to use this workbook - Work through the sections in order. Each section builds on the previous one. - Where helpful, sketch diagrams or write informal notes. Precision comes later. - If a question does not apply to your case, briefly note why.

## Define the measurand (high level)

Purpose: Clarify what you intend to measure, before considering how.

Prompt:

- How do you describe your measurand?

- What property are you measuring?

- Of what phenomenon or matrix?

Guidance:
A useful structure is:

[property] of the [phenomenon or matrix]

For example, Temperature (property) of the air (phenomenon)

Your notes:

## From instrument signal to measurand

Purpose: Make the measurement chain explicit.

Prompt:

- How are you making this measurement?

- What does your instrument directly measure?

- What processing steps are required to move from the instrument measurement to the measurand?

Task:

- Draw a simple sequence diagram showing the steps from sensor interaction to final reported quantity.

Your diagram/notes:

## Making the instrument measurement concrete

Purpose: Ground the measurement in physical space and time.

Prompt: Starting from the instrument measurement:

- Where is the signal coming from?

- What is physically interacting with the sensor?

- What spatial dimensions does the measurement represent? (e.g. area-averaged flux over x m²)

- What temporal dimensions are involved? (instantaneous, averaged over seconds/minutes, accumulated, etc.)

- Where is the sensor located? (e.g. height above ground, depth, distance from source)

Your notes:

## Measurement models at each level

Purpose: Make dependencies explicit, even when equations are unavailable.

Prompt:
For each level (and sublevel, if useful), can you write down the measurement model?

This may be:

- A mathematical equation, or

- A structured list of quantities on which the output depends (inputs, assumptions, corrections, etc).

Your models/dependency lists:

## Refine the measurand description

Purpose: Achieve a precise, unambiguous measurand definition.

Prompt:

- Write a clear description of the measurand at each processing level.

- Include constraints, averaging, normalisation, and corrections.

- Sublevels are optional but encouraged where clarity improves.

For example: Sea surface skin temperature at wavelength λ retrieved from thermal infrared radiances measured by the Sea and Land Surface Temperature Radiometer (SLSTR) onboard Sentinel-3A under dual-view (nadir and oblique ~55°) observation geometry, corrected for atmospheric water vapour, aerosol loading, and surface emissivity effects under clear-sky conditions.

Your descriptions:

## Auxiliary and ancillary information

Purpose: Identify what additional information is required.

Prompt:
For each level or sublevel:

- What auxiliary or ancillary data are required?

  - (e.g. meteorological data, calibration coefficients, reference measurements)

- Are these measured, modelled, or assumed?

Your notes:

## Standardised variable naming

Purpose: Connect scientific meaning to community standards.

Prompt: Can your measurand descriptions be converted into:

  - CF-compliant variable names?

Attempt at least one standardised name or structured description.

Your attempts:

Reflection

Purpose: Step back and evaluate the implications.

Prompt:

- What have you learned from this process?

- Which levels of data should you provide in your datasets?

- What metadata needs to be included to make it clear which auxiliary/ancillary information is included?

Your notes: